## How to use this spreadsheet
Gas Usage
These spreadsheets are designed to help you determine how many kegs of beer you can expect to dispense from a cylinder of premix gas or a Trumix® gas blending system. The values generated by this program are based on the assumptions that there are no leaks in the system and that no gas is consumed by being dissolved in the beer. Therefore the number of kegs actually dispensed per cylinder will be less than the program indicates. In order to help correct for this error, on the kegs per cylinder sheet, you can enter an overall correction factor. The correction factor is the percent of total gas that you think you are losing either by leaks or absorption. Note: Make sure to use our Easy Blend app if you don't already know what blends you have/need. If you have questions or comments, email us at info@mcdantim.com or please call McDantim @ 406-442-5153 / 888-735-5607.

## Kegs per Cylinder
Kegs Per Cylinder Calculations
This spreadsheet will help you determine how much gas you need based on how many kegs you go through in a month's time. If you have more then 1 Blend/Pure gas in your system, you will need to figure out what pressure each keg is under, the keg size, blend, and kegs per month. Standard Keg sizes: 15.5 gal, 50 L = 13.2 gal, 1/6 Barrel = 5.17 gal Correction Factor: In our experience, coupling/uncoupling kegs, line cleaning, small leaks, etc. we normally see about a 15 to 20% gas loss. Enter a value between 15 and 20% into your overall correction factor. Again, the values generated by this program are based on the assumptions that there are no leaks, other than the estimated correction, in the system and that no gas is consumed by being dissolved in the beer. Therefore, the number of kegs actually dispensed per cylinder will be less than the program indicates. To help correct this error, you can enter an overall correction factor. The correction factor is the percent of total gas that you think you are losing either by leaks or absorption. Always keep extra gas on hand!
To the side →, we give estimated values of nitrogen based on a typical CO2 cylinder size. To find out the exact amount, speak to your gas supplier. For example, if you have N2 in a "20lb CO2 cylinder" you can see that the table indicates roughly 53 cu. ft. of N2 at 2100 PSI. NOTE: there is not 20lbs of N2 in that "20lb CO2 cylinder". Typically, N2 is sold by the cubic foot, while CO2 is sold by the pound. Also, our estimated N2 values are based on the fact that the cylinders were filled at 2100. This means that if your cylinder was filled at a different pressure, you will have either more or less N2 in that cylinder. | [5 empty] | CO2 LB Cyl. | CO2 cu. ft. | N2 (2100 PSI) cu. ft.
[6 empty] | 5 | 43.7 | 14
[6 empty] | 10 | 87.4 | 30
[6 empty] | 20 | 174.8 | 53
[6 empty] | 50 | 437.1 | 140
| Values to input are highlighted in | yellow | Tap the tab button anywhere on this spreadsheet to start inputting your values
| Results are highlighted in | blue
Input
CO2 & N2 Tank Values |  |  |  |  | Premixed Values
Volume of N2 Tank: | 243 | cu. ft. |  |  | Premixed Gas volume: | 240 | cu. ft. | Kegs for Premix: | 10 | kegs/month
Volume of CO2 Tank: | 50 | lbs. |  |  | Premixed Pressure: | 30 | psig | Keg size for Premix: | 15.5 | gal/keg
Correction Factor: | 50% | (overall)
Blend 1 |  |  |  | Blend 2 |  |  |  | Blend 3
Blend: | 25% | (% CO2) |  | Blend: |  | (% CO2) |  | Blend: |  | (% CO2)
Keg size: | 13.2 | gal/keg |  | Keg size: |  | gal/keg |  | Keg size: |  | gal/keg
Gauge Pressure: | 26 | psig |  | Gauge Pressure: |  | psig |  | Gauge Pressure: |  | psig
Kegs: | 10 | kegs/month |  | Kegs: |  | kegs/month |  | Kegs: |  | kegs/month
| 100% N2 | [7 empty] | 100% CO2
Keg size: |  | gal/keg | [5 empty] | Keg size: |  | gal/keg
Gauge Pressure: |  | psig | [5 empty] | Gauge Pressure: |  | psig
Kegs: |  | kegs/month | [5 empty] | Kegs: |  | kegs/month
Results
[5 empty] | 41.4409 | Kegs per 243 cu. ft. of N2
[5 empty] | 313.0515 | Kegs per 50 lbs. of CO2
[5 empty] | 19.0419 | Kegs per 240 cu. ft. of Premixed Gas
|  |  |  | If I use a total of 10 kegs per month, I would need at least | 0.24131 | 243 cu. ft. N2 tank(s)
[5 empty] | 0.031944 | 50 lbs. CO2 tank(s)
|  |  |  | If I use 10 kegs per month, I would need at least | 0.52516 | 240 cu. ft. Premixed tank(s)

## Large System Design
Large System Design
This spreadsheet will help you determine your required flow rate for your system based on your peak flow rate. You will want to input your maximum "Beer Flow Rate" in terms of pints per minute, this will tell you the absolute minimum flow rate you will need for your peak serving time. For the keg size, dispense pressure, and blend, make sure to use the most popular product for these variables.
| Values to input are highlighted in | yellow | Just hit the tab button anywhere on this spreadsheet to start inputting your values
| Results are highlighted in | blue
Input
| Beer Flow Rate: | 21 | pints per minute |  |  | Keg Size: | 15.5 | gal/keg
|  | 10.1613 | kegs per hour |  |  | Dispense Pressure: | 30 | psig
[6 empty] | Blend: | 60%
Results
For your given values of 10.2 kegs per hour (with your keg size set to 15.5 gal/keg), gauge pressure set at 30 psi, and blend at 60%, you will need:
|  |  | Required Flow Rate of Mixed Gas: | 64.0266 | SCFH
|  |  |  | 30.2212 | Standard Liters per minute (SLPM)
|  |  | Required Flow Rate of N2: | 25.6106 | SCFH
|  |  |  | 12.0885 | Standard Liters per minute (SLPM)

## Calculations (hidden)
| cu. ft. | oz. | [5 empty] | Premix
1 Gal | 0.13368 | 128 |  | ATM PSI | 14.696 |  |  | keg size gal to cu ft. / 1 keg | 2.0721
[8 empty] | Boyle's Law pressure (converting to atm) | 3.0414
| 2.1186 | slpm to scfh
| 0.47318 | L in 1 pint
| 8 | pints to 1 gallon
| CO2 |  |  |  | N2
|  |  | 1 ft^3 |  |  |  | ft^3
| Weight | lbs. | 0.1144 |  | Weight | lbs. | 0.07246
| Gas | cu. ft. | 1 |  | Gas | cu. ft. | 1
| Liquid | gal. | 0.01349 |  | Liquid | gal. | 0.01072
|  | Blend 1 | Blend 2 | Blend 3 | N2 | CO2
| CF N2 | 37.5% |  |  | 50%
| CF CO2 | 12.5% |  |  |  | 50%
| keg size gal to cu ft. / 1 keg | 1.7646 | 0 | 0 | 0 | 0
| Boyle's Law pressure (converting to atm) | 2.7692 | 1 | 1 | 1 | 1
| N2 gas needed in 1 keg (ft3/1 keg) w/correction factor | 5.8638 | 0 | 0 | 0
| CO2 gas needed in 1 keg (ft3/1 keg) w/correction factor | 1.3961 | 0 | 0 |  | 0
Service Pressure (ATM)
[10 empty] | 1800 | 2100
| Kegs per Cylinder Calculations | [8 empty] | 123.4823 | 143.896
| kegs per N2 | 41.4409 |  |  | 243 |  |  | cft | Lbs | CO2 | N2 (cal) | N2 (cyl) | N2 (in between)
| monthly usage | 0.24131 | tanks |  |  |  |  | 0.1 | 5 | 43.7063 | 14.3896 | 13.4 | 14 | 14.5688
| kegs per CO2 | 313.0515 |  |  | 437.0629 |  |  | 0.21 | 10 | 87.4126 | 30.2182 | 30.5 | 30.25 | 29.1375
| monthly usage | 0.031944 | tanks |  |  |  |  | 0.36 | 20 | 174.8252 | 51.8026 | 55.1 | 53.2 | 58.2751
| kegs per premix | 19.0419 | [5 empty] | 1.04 | 50 | 437.0629 | 149.6519 | 141.5 | 145 | 145.6876
| monthly usage | 0.52516 | tanks | [5 empty] | 75 | 655.5944 | 0
[9 empty] | 100 | 874.1259 | 0
Large System Design
|  | 10.1613 | kegs per hour
| required Mixed gas flow | 30.2212 | Standard Liters per Minute | [5 empty] | Pretty Table
|  | 64.0266 | SCFH | [5 empty] | LBs | CO2 cu. ft. | N2 (2100 PSI) cu. ft.
| required flow rate of N2 | 12.0885 | Standard Liters per Minute | [5 empty] | 5 | 43.7 | 14
|  | 25.6106 | SCFH | [5 empty] | 10 | 87.4 | 30
[9 empty] | 20 | 174.8 | 53
[9 empty] | 50 | 437.1 | 140
*Estimated Values based on multiple online manufacturer specs